## Annual Summary
MRI Equipment Evaluation Summary
Site: |  |  |  | Report Date:
System MRAP#: |  |  |  | Survey Date:
System BMRAP#:
MRI System Manufacturer: |  |  | Model:
Medical Physicist/MRI Scientist:
Signature:
Equipment Evaluation Tests |  |  |  |  | Pass/Fail/NA
1. | Setup and Table Position Accuracy
2. | Center Frequency
3. | Transmitter Gain or Attenuation
4. | Geometric Accuracy Measurements*
5. | High-Contrast Spatial Resolution*
6. | Low-Contrast Detectability*
7. | Artifact Evaluation
8. | Film Printer Quality Control (if applicable)
9. | Visual Checklist
10. | Magnetic Field Homogeneity
Method of Testing
11. | Slice-Position Accuracy*
12. | Slice-Thickness Accuracy*
13. | Radiofrequency Coil Checks
Were all clinically used coils evaluated? (Yes/No)
Was the breast coil evaluated? (Yes/No/NA)
a. SNR
b. Volume Coil Percent Image Uniformity (PIU)
c. Percent Signal Ghosting (PSG)
14. | Soft-Copy (Monitor) Quality Control
15. | MR Safety Program Assessment
* tests that can be performed by scanning the ACR MRI Phantom
Evaluation of Site's Technologist QC Program |  |  |  |  | Pass/ Fail
1. | Setup and Table Position Accuracy (weekly)
2. | Center Frequency (weekly)
3. | Transmitter Gain or Attenuation (weekly)
4. | Geometric Accuracy Measurements (weekly)
5. | High-Contrast Spatial Resolution (weekly)
6. | Low-Contrast Detectability (weekly)
7. | Artifact Evaluation (weekly)
8. | Film Printer Quality Control (if applicable) (weekly)
9. | Visual Checklist (weekly)
Medical Physicist's or MRI Scientist's Recommendations for Quality Improvement

## MR Safety Checklist
MRI Safety Program Assessment Checklist
Site:
The site's written MRI safety policy addresses the following: |  |  |  | Yes/No/NA
1. | Designated MR medical director
2. | Site access restrictions (MR zones)
3. | Documented MR Safety education/training for all personnel
4. | Patient and non-MR personnel screening
5. | Pediatric patients
6. | Magnet quench
7. | Cryogen safety
8. | Acoustic noise
9. | Pregnant patients and staff
10. | Contrast agent safety
11. | Sedations
12. | Thermal burns
13. | Emergency code procedures
14. | Device and object screening
15. | Designation of MR safe/MR conditional status
16. | Reporting of MR safety incidents or adverse incidents
17. | Patient communication
18. | Infection control and medical waste
ACR criteria for compliance: |  |  |  | Yes/No/NA
1. | Written policies are present and readily available to facility staff.
2. | Written policies are reviewed and updated on a regular basis.
3. | Facility has appropriate MR safety warning signage and methods of
controlled access.
Overall Pass/Fail
Comments
Reviewed by:
|  | Qualified Medical Physicist/MR Scientist |  | Date

## DD
Pass
Fail
NA
Yes
No
NA