|  |  |  |
| --- | --- | --- |
| |  |  | | --- | --- | | ACR_logo_blk_invert | **Stereotactic Breast Biopsy Accreditation Program**  **1891 Preston White Drive, Reston, VA 20191-4397 Phantom Test Image Data** |   *Please print or type. All information must be accurate. Complete a separate form for each stereotactic unit being evaluated.* |

**PRIVILEGED and CONFIDENTIAL • PEER REVIEW**

**Release or disclosure of this document is prohibited in**

**accordance with Code of Virginia 8.01-581.17**

# SYSTEM IDENTIFICATION

**Type of Unit:**  Add-on  Prone table **Stereotactic unit room #:**

**Stereotactic unit manufacturer:**  **Model name:**

**Year manufactured:**   **Serial number:**

**Type of recording system:**  Digital  Screen-film

# PHANTOM IMAGE

**Phantom manufacturer and model:**

1. Original ACR Phantom (4 inch square phantom):  Gammex (Sun Nuclear) Model 156  Fluke Biomedical Model 18-220  CIRS Model 015
2. Mini Phantom (2.6 inch square phantom):  Gammex (Sun Nuclear) Model 156D  Fluke Biomedical Model 18-250  CIRS Model 015DM

**Phantom serial number** *(on side of phantom)*  **Wax insert serial number** *(appears on image)*

**Technique factors used to produce the phantom image:**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Test** | **Date** | **Clinical AEC Mode**  *(e.g., DOSE, AA, etc.)* | **kVp** | **Exposure Time** | **mAs**  *(after exposure)* | **Tube Target** | **Filter** |
| **Phantom** |  |  |  | sec  msec |  | Molybdenum (Mo)  Rhodium (Rh)  Tungsten (W) | Molybdenum (Mo)  Rhodium (Rh)  Aluminum (Al)  Silver (Ag)  Beryllium (Be)  Titanium (Ti) |