|  |  |  |
| --- | --- | --- |
|

|  |  |
| --- | --- |
| ACR_logo_blk_invert | **Stereotactic Breast Biopsy Accreditation Program****1891 Preston White Drive, Reston, VA 20191-4397 Clinical Test Image Data** |

 *All information must be accurate. Complete a separate form for each stereotactic unit being evaluated.* |

**PRIVILEGED and CONFIDENTIAL • PEER REVIEW**

**Release or disclosure of this document is prohibited in**

**accordance with Code of Virginia 8.01-581.17**

# SYSTEM IDENTIFICATION

**Type of Unit:** [ ]  Add-on [ ]  Prone table **Stereotactic unit room #:**

**Stereotactic unit manufacturer:**  **Model name:**

**Year manufactured:**   **Serial number:**

**Type of recording system:** [ ]  Digital [ ]  Screen-film

# CLINICAL IMAGES

|  |
| --- |
| *Submit 1* ***BI-RADS® Category 4 or 5 calcification biopsy case*** *for INITIAL, RENEWAL, clinical REPEAT or REINSTATE accreditation. The 2-view mammogram must include the entire breast and be within the previous 60 days of the biopsy.*  |

**Type of device used:** [ ]  Gun-Needle [ ]  Vacuum-Suction [ ]  Other FDA-Approved Core Biopsy Device

**Choose the images you will submit:** [ ]  Pre-fire stereo pair [ ]  Post-fire stereo pair

**Technique factors used to produce the clinical images:**

***Gun-needle biopsy probes*** (submit a pre-fire stereo pair):

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Date of Exam** | **Images** | **Compressed Breast Thickness** | **kVp** | **Exposure Time** | **mAs***(after exposure)* | **Tube Target** | **Filter** |
|  | 2-view mammogram*(with calcifications circled)* |  |  |  |  |  |  |
|  | Stereo pair | cmmm |  | sec |  | Molybdenum (Mo)Rhodium (Rh)Tungsten (W) | Molybdenum (Mo)Rhodium (Rh) Aluminum (Al)Silver (Ag)Beryllium (Be)Titanium (Ti) |
|  | **Specimen Image** |  |  | sec |  | Molybdenum (Mo)Rhodium (Rh)Tungsten (W)None | Molybdenum (Mo)Rhodium (Rh)Aluminum (Al)Silver (Ag)Beryllium (Be)Titanium (Ti)None |

***Vacuum-suction biopsy probes*** or ***other FDA-approved core biopsy devices*** (submit a ***post-fire*** stereo pair ***or***, if a post-fire pair is not possible or the needle obscures the calcifications on image, submit a ***pre-fire*** stereo pair):

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Date of Exam** | **Images** | **Compressed Breast Thickness** | **kVp** | **Exposure Time** | **mAs***(after exposure)* | **Tube Target** | **Filter** |
|  | 2-view mammogram*(with calcifications circled)* |  |  |  |  |  |  |
|  |  Stereo pair | cmmm |  | sec |  | Molybdenum (Mo)Rhodium (Rh)Tungsten (W) | Molybdenum (Mo)Rhodium (Rh)Aluminum (Al)Silver (Ag)Beryllium (Be)Titanium (Ti) |
|  | **Specimen Image** |  |  | sec |  | Molybdenum (Mo)Rhodium (Rh)Tungsten (W)None | Molybdenum (Mo)Rhodium (Rh)Aluminum (Al)Silver (Ag)Beryllium (Be)Titanium (Ti)None |