## Table 1
Ultrasound/Breast Ultrasound Equipment Annual Survey Summary
Facility Name:
UAP/BUAP #: |  | Unit #: |  | Report Date:
Serial Number: |  |  |  | Survey Date:
System Manufacturer: |  |  |  | Model:
Medical Physicist or designee (Print name):
Medical Physicist or designee (Signature):
Required | Equipment Evaluation Tests Pass/Fail * Comments
1. Physical and Mechanical Inspection 2. Image Uniformity and Artifact Survey 3. System Sensitivity 4. Scanner Electronic Image Display Performance
Were all clinically used transducers tested? |  |  | YES NO
Optional 1. Primary Interpretation Display Performance 2. Contrast Resolution 3. Spatial Resolution 4. Geometric Accuracy
Overall comments:
*If any Fail result is indicated above, documentation of corrective action is required.
Revised 10/27/2020